## Slide 1
T. Elkafrawy and J. A. Tanis
Department of Physics, Western Michigan University, Kalamazoo, Michigan 49008, USA
Future Work
Fig. 3: Transitions that give rise to the various x-ray emission lines [4].
Fig. 2: In the present work, singles measurements have been investigated for 14-30 MeV O5+ on Ar, and x-ray emission lines resulting from O-Kα, Ar-Kα and Ar-Kβ transitions have been observed.
X-ray Emission in Singles Measurements
of 14-30 MeV O5+ on Ar Collisions
Coincidence measurements are planned to investigate the specific K-x-ray production mechanisms.
The K-x-ray-emission differential cross sections (DCS) have been calculated and are shown in Fig. 4, taking into consideration the subtended solid angle of the Si(Li) detector and efficiencies of all layers existing in the detector at the measured energies[5]. Ratio of O to Ar Kx rays are shown in Fig. 5.
X-ray Cross Sections
References
[1] J. A. Tanis et al. Phys. Rev. Lett. 53 2551, 1984.
[2] R. Gayet and J. Hanssen, J. Phys. B: At. Mol. Opt. Phys. 25 825, 1992.
[3] H. Bachau et al., J. Phys. B: At. Mol. Opt. Phys. 25 839, 1992.
[4] X-RAY DATA BOOKLET” Jeffrey B. Kortright and Albert C. Thompson.
[5] E. B. Saloman et al., ADNDT 38 1-197, 1988.
● The measured Kα emission line from O5+ has to come at a higher energy than that indicated in the literature for a single-K-vacancy O atom. This shift may be attributed to the reduced electron screening for O5+ compared to the single K-vacancy case.
● The measured Kα and Kβ-emission lines from Ar are expected to come at the single-K-vacancy values found in the literature.
● An accurate energy calibration is needed to see where the measured x-ray energies come compared to the literature values.
Measured K-x-ray Energies vs.
Accepted Single-K-vacancy Values
● This work was done at Western Michigan University using the tandem Van de Graaff accelerator.
● An ion source was used to produce beams of 14-30 MeV O5+.
● A Si(Li) detector mounted perpendicular to the beam direction recorded x-ray emission.
● A cone-shaped set of four successive slits of aperture sizes as shown in Fig. 1 was used to form the differentially pumped gas cell.
Experimental Setup
K-x-ray Emission in Fast O5+ on Ar Collisions
● Cross sections increase with increasing collision energy.
● Cross section of O K x-ray emission is 100-300 times higher than that of Ar K x-rays.
Fifth Annual WMU Research and Creative Activities Poster Day, April 15, 2011
Abstract
The goal of the present work is to observe x-rays from oxygen for the purpose of investigating resonant-transfer and excitation (RTE) [1], and projectile and target x-ray emission resulting from inner-shell capture. Projectile energies in the range 5-25 MeV will be examined to investigate RTE for heavy targets [2,3].
Conclusion
O
Ar
14 MeV
16 MeV
18 MeV
20 MeV
30 MeV
(a)
(b)
(c)
(a)
(b)
(c)
Fig. 7: X-ray spectra for 25 MeV O5+ on Ar collisions: (a) total (singles) x-ray events, (b) and (c): x-rays coincident with O4+ and O6+ respectively.
Fig. 5
Fig. 4
Fig. 6: X-ray spectra for 18 MeV O5+ on Ar collisions: (a) total (singles) x-ray events, (b) and (c): x-rays coincident with O4+ and O6+ respectively.
Fig. 1
14 MeV
16 MeV
18 MeV
25 MeV
30 MeV
Notes: <number>